## Slide 1: Phase identification with using voltage profile data
Project 1
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024

## Slide 2: Project Goal
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
Benefits of Smart Grids:
  Increased energy efficiency and reliability;
  Enhanced capacity for demand response;
  Real-time Monitoring and Control;
Challenges of Phase Identification:
  Per-phase aggregate energy measurements are usually unavailable;
  Incorrect identification leads to energy loss;
  Impact on load balancing between phases

## Slide 3: Data Overview
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
Same data from lab 6-7 with extras:
  Added 6 new consumers (10 in total);
  New network;
We took the apparent power data s from Lab 6-7 to generate new columns for each new consumer;
Now each phase has at least 2 consumers;
Figure 1 – new network topology

## Slide 4: Data Overview
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
Figure 1 – new network topology
t | Apparent power with new consumers |  |  |  |  |  |  |  |  | 
1 | 0.045 | 0.015 | 0.047 | 0.033 | 0.016 | 0.024 | 0.028 | 0.02 | 0.259 | 0.02
2 | 0.025 | 0.015 | 0.248 | 0.033 | 0.045 | 0.015 | 0.02 | 0.028 | 0.394 | 0.028
3 | 0.097 | 0.025 | 0.394 | 0.033 | 0.028 | 0.022 | 0.016 | 0.015 | 0.017 | 0.024
4 | 0.07 | 0.049 | 0.02 | 0.485 | 0.016 | 0.02 | 0.015 | 0.201 | 0.024 | 0.015
5 | 0.125 | 0.046 | 0.016 | 0.143 | 0.394 | 0.07 | 0.026 | 0.049 | 0.046 | 0.015
6 | 0.29 | 0.027 | 0.016 | 0.047 | 0.049 | 0.206 | 0.049 | 0.015 | 0.033 | 0.015
7 | 0.259 | 0.015 | 0.017 | 0.02 | 0.29 | 0.045 | 0.047 | 0.046 | 0.015 | 0.206
8 | 0.259 | 0.016 | 0.028 | 0.016 | 0.026 | 0.026 | 0.206 | 0.097 | 0.047 | 0.046
9 | 0.442 | 0.016 | 0.05 | 0.017 | 0.13 | 0.028 | 0.394 | 0.046 | 0.049 | 0.016
10 | 0.201 | 0.023 | 0.046 | 0.016 | 0.047 | 0.143 | 0.046 | 0.017 | 0.049 | 0.097
11 | 0.206 | 0.049 | 0.022 | 0.024 | 0.016 | 0.026 | 0.049 | 0.022 | 0.046 | 0.026
12 | 0.13 | 0.047 | 0.016 | 0.049 | 0.143 | 0.022 | 0.046 | 0.259 | 0.025 | 0.046
13 | 0.046 | 0.026 | 0.017 | 0.048 | 0.259 | 0.016 | 0.13 | 0.016 | 0.017 | 0.097
Used def pf3ph(t,z,si,vr,el,ni,al)
to generate to per-pase voltage measures of Vq

## Slide 5: Challenges of voltage measurements
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
With voltage metering data alone, phase-identification requires more knowledge;
Ideal measurement equipements are hard/costly to implemente;
Alternative: micro Phasor Measument Units (µPMUs)

## Slide 6: Methodology
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
Calculate the Voltage Deviation from N (source) to Q;
Compute X:
.Calculate β:

## Slide 7: Results
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024
We were able to estimate consumer’s phase with both complex and Absolute values of
RTU had a small error of phase estimation compared to PMU
Figure 2 – Beta values for each consumer using PMU
Figure 3 – Beta values for each consumer using RTU

## Slide 8: Results
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024

## Slide 9
Data Analytics for Smart Grids
Phase identification with using voltage profile data
Antonio Villas Bôas and Jonas Betscher
April 15th, 2024